## Sheet1
|  | Sample A | Sample B | Sample C | Sample D | Sample E
Lab 1 | Day 1 | 10.2951 | 10.589 | 10.2073 | 11.162 | 11.179
| Day 1 | 10.0395 | 10.5511 | 10.265 | 11.1364 | 10.7586
| Day 2 | 9.8423 | 10.3926 | 10.1837 | 11.463 | 10.7712
| Day 2 | 9.8405 | 10.2553 | 10.1341 | 11.3921 | 10.8835
| STD | 0.21514 | 0.15351 | 0.054334 | 0.16362 | 0.19553
| Average | 10.0043 | 10.447 | 10.1975 | 11.2884 | 10.8981
Lab 2 | Day 1 | 10.0229 | 10.6128 | 10.0425 | 11.0036 | 10.612
| Day 1 | 9.4905 | 10.4676 | 10.2653 | 11.2048 | 10.6472
| Day 2 | 9.7662 | 10.5615 | 9.9152 | 10.8083 | 10.7973
| Day 2 | 9.7813 | 10.1838 | 10.1888 | 10.8042 | 10.8569
| STD | 0.21765 | 0.19143 | 0.15561 | 0.19064 | 0.11748
| Average | 9.7652 | 10.4564 | 10.103 | 10.9552 | 10.7284
| Total Average | 9.8848 | 10.4517 | 10.1502 | 11.1218 | 10.8132
|  | sample A | sample B | sample C | sample D | Sample E
| T1 | 19.7696 | 20.9034 | 20.3005 | 22.2436 | 21.6264
| T2 | 195.4462 | 218.4768 | 206.0592 | 247.4451 | 233.8657
| T3 | 0.093657 | 0.060212 | 0.027167 | 0.063116 | 0.052033
| x | 9.8848 | 10.4517 | 10.1502 | 11.1218 | 10.8132
| L | 2 | 2 | 2 | 2 | 2
| sL2 | 0.016881 | -0.0074817 | 0.0010745 | 0.047613 | 0.0078953
| sr2 | 0.046828 | 0.030106 | 0.013583 | 0.031558 | 0.026017
| sr | 0.2164 | 0.17351 | 0.11655 | 0.17765 | 0.1613
| sL | 0.12993 | 0 | 0.03278 | 0.2182 | 0.088855
| sR | 0.25241 | 0.15041 | 0.12107 | 0.28137 | 0.18415
| RSDr | 2.1892 | 1.6601 | 1.1482 | 1.5973 | 1.4917
| RSDR | 2.5535 | 1.4391 | 1.1928 | 2.5299 | 1.703
| r | 0.60592 | 0.48583 | 0.32633 | 0.49741 | 0.45163
| R | 0.70674 | 0.42116 | 0.339 | 0.78784 | 0.51563
| RSDR(Hor) | 4.007 | 3.9735 | 3.991 | 3.9365 | 3.9532
| HorRat | 0.63726 | 0.36218 | 0.29886 | 0.64268 | 0.4308
Where:
| X | =average
| L | = number of laboratories
| sr | = repeatability standard deviation
| sL | = "pure" between laboratory standard variation
| sR | = reproducibility standard deviation= √(sr2 +sL2)
| RSDr | = repeatability relative standard deviation (sr/x*100)
| RSDR | = reproducibility relative standard deviation (sR/x*100)
| r | = repeatability (sr*2.8)
| R | = reproducibility (sR*2.8)
| RSDR(Hor) | = Horwitz value calculated from: 2(1-0.5logc)
where c = the concentration of the analyte as a decimal fraction
| HorRat | =RSDR(Hor) /RSDR
Note on B20: 作者: 平均值的和
Note on B21: 作者: 平均值的平方和
Note on B22: 作者: 标准方差的平方和